SECTION 04 22 00

FLEXIBLE FLASHING SELF-ADHERING TYPE 304 STAINLESS STEEL

PART 1 - GENERAL

1.01	SUMMARY

A.	Flexible stainless steel self-adhering flashing.

EDIT RELATED SECTIONS TO INCLUDE ONLY SECTIONS IN PROJECT MANUAL.

B.	Related sections:

1.	04 05 23	Masonry Accessories.

2.	04 21 13	Brick Masonry

3.	04 22 00	Concrete Unit Masonry

4.	04 22 23	Architectural Concrete Unit Masonry

5.	04 42 00	Exterior Stone Cladding.

6.	04 72 00	Cast Stone Masonry.

7.	05 40 00	Cold-Formed Metal Framing.

8.	06 10 00	Rough Carpentry.

9.	07 11 10	Dampproofing.

10.	07 60 00	Flashing and Sheet Metal.

11.	07 65 00	Flexible Flashing.

1.02	REFERENCES

A.	Standards of the following as a reference:

1.	ASTM

2.	Brick Industry Association (BIA)

3. 	Recycled content & Recyclability

B.   Federal Government Publications: www.epa.gov/nscep

- 40 CFR 59, Subpart D-200 - National Volatile Organic Compound Emission Standards for Architectural Coatings

C.	National Fire Protection Association (NFPA): www.nfpa.org

- NFPA 285 – Standard Fire Test Method For Evaluation Of Fire Propagation Characteristics Of Exterior Non-Load-Bearing Wall Assemblies Containing Combustible Components

- Fenestration & Glazing Industry Alliance (FGIA):  www.fgiaonline.org

1. 	AAMA 711-20 Voluntary Specification for Self-Adhering Flashing Use for Installation of Exterior Wall Fenestration Products

E.	Sealant, Waterproofing, and Restoration Institute (SWRI): www.swrionline.org :

- SWRI Validation Program

F.	Industry standards:

1.	BIA Technical Notes on Brick Construction No. 7, Water Penetration Resistance- Design and Detailing, November 2017.

2.	BIA Technical Notes on Brick Construction No. 28B, Brick Veneer/Steel Stud Walls, December 2005.

1.03	DEFINITIONS

A.	Terms:

1.	Cavity wall flashing:  Same as flexible flashing.

2.	Foundation sill flashing:  Same as flexible flashing.

3.	Flexible flashing:  Water-proof material typically used in cavity wall construction to contain and assist in the proper water drainage that may penetrate the wall system veneer.  Other materials may be required to constitute the system.

4.	Head and sill flashing:  Same as flexible flashing.

5.	Through-wall flashing:

a.	Generally considered the same as flexible flashing.

b.	Rare definition referred to full-width cap flashing under copings or wall caps.

1.04	SUBMITTALS

A.	Product data:  Indicate material type, composition, thickness, and installation procedures.

B.	Samples:  3" by 4.5" flashing material.

C.	Product Quality & Environmental Submittals:

1.	Certificates:

a.	Indicate materials supplied or installed are asbestos-free.

b.	Indicate recycled content:  60% total recycled material; based on 60% post-industrial recycled Content.

2.    Performance Attributes

a. Tensile strength, >90,000 psi minimum

b. Puncture resistance, >2,500 pounds average

c.	When tested as manufactured, the product resists the growth of mold pursuant to test method ASTM D3273.

d.	Certify the use of domestically manufactured stainless steel for flashing.

f. 	Certify products contain no silica or asbestos.

1.05	QUALITY ASSURANCE

A.	Qualifications:

1.	Manufacturer:  Provide flashing materials by a single manufacturer with not less than twenty-five years of experience in manufacturing flexible flashing products.

2. 	Flashing materials must be able to withstand 250º F temperature without changing the long-term performance of the flashing.

SPECIFIER'S NOTE:  All manufacturers of air barrier, insulation, and flashing products should provide you WITH MUTUAL letters of compatibility for these products in combination with each other.  (York has these on file for you.)

PART 2 - PRODUCTS

2.01	MANUFACTURED UNITS

A.	Flexible flashing:

1.	Products of manufacturers listed below meeting indicated standards and specified manufacturer's product data characteristics, except as modified below, are acceptable for use, subject to compliance with specified requirements.

- Product standard of quality:

  - York Manufacturing, Inc.; York 304 SA

  - GE Silicones, Inc.; GE Elemax SS Flashing

  - Vapro Shield, Inc.; VaproThru-Wall Flashing SA

  - Other products that meet the criteria in sections 1.04 to 1.06.

2.	Characteristics:

a.	Type: 2 mil stainless steel core with one uncoated (bare) stainless steel face (outward facing) with a butyl block copolymer adhesive (inward facing).

b.    Stainless steel: type 304, ASTM A240.  Domestically sourced per

DFARS 252.225-7008 and/or DFARS 252.225-7009.

- Adhesive: block copolymer

- No primer required.

- UV resistant.

- 20-year warranty.

- Fire resistant: ASTM E84 Class A material.

- Mold resistant: passes ASTM D3273.

- Passes AAMA 711-20.

- Passes air barrier material test: ASTM E2178-13.

- Contributes towards LEED by satisfying EA Credit 1 (optimize energy performance) and EQ Credit 4.1 (low-emitting materials)

- Size:  Manufacturer's standard width rolls.

B.	Accessories:

1. Polyether sealant:

1) York Manufacturing, Inc.;  UniverSeal US-100

2) STS Coatings;  GreatSeal LT-100

3) Prosoco, Inc.; R-Guard Joint Seam Sealer

2.	Splice Tape:

1) York Manufacturing, Inc.; York 304 SA

2) GE Silicones, Inc.; GE Elemax SS Flashing

3) VaproShield, Inc.; Vapro Thru-Wall Flashing SA

3.	Corner and End Dams: Form the stainless steel flashing in the field or use 26 gauge stainless steel pre-manufactured corners.

4.  Mortar deflection:  polyester strands that will not degrade and keep the weep vents from clogging with mortar.

1) York Manufacturing, Inc.; Weep-Armor

2) York Manufacturing, Inc.; Weep-Net

3) Or approved comparable product

5.  Termination bar:  rigid PVC or stainless steel termination bar with sealant catch lip

1) York Manufacturing, Inc.; T-96 termination bar Rigid PVC

2) York Manufacturing, Inc.; Stainless Steel Termination Bar

3) York Manufacturing, Inc.; No-Bow Termination Strip Self-Adhering

4) York Manufacturing, Inc.; Termination Bar Extender

PART 3 - EXECUTION

3.01	INSTALLATION

A.	General:

1.	Install where indicated, specified, or required according to flashing manufacturer's written instructions and as follows.

2.	Extend flashing 6" minimum beyond the opening.  Fold flashing ends at the end of openings or horizontal flashing terminations to form end dam or use pre-manufactured units of 26 gauge stainless steel.

3.	Flashing width:  Width required starting flush with the outside face of exterior wythe, extending through the cavity, rising height required to extend above lintel steel at least 2".

4.	Splice end joints by overlapping flashing at least 2" and seal with a compatible sealant or metal splice tape.

5.	Masonry back up:

a.	Surface is applied after a dampproofing installation specified in Damp proofing/Air Barrier Section in accord with manufacturer's installation instructions.

b.   Fasten to masonry backup surface at the top by embedding in a layer of sealant or use a non-corrosive termination bar and fasten it to the backer wall at the top edge of the flashing and seal the top edge with compatible sealant or use a termination clamp, which is embedded in the block back up the wall.

6.	Concrete back up:

a.	Surface apply after damp proofing/air barrier installation specified in damp proofing section in accord with manufacturer's installation instructions.

b.	Fasten to concrete surface at the top by embedding in a layer of sealant or use a non-corrosive termination bar and fasten it to the backer wall at the top edge of the flashing and seal the top edge with a compatible sealant.

7.	Stud back up with sheathing:

a.	Fasten to stud backup at the top by embedding in a layer of sealant or use a non-corrosive termination bar and fasten it to the backer wall at the top edge of the flashing and seal the top edge with a compatible sealant.

8.	Leave ready for certified compatible building felt or air barrier installation lapping flashing top installed in another Section.

9.	Fold ends of flashing at the end of the opening to form dam; seal with polyether sealant or use purchased manufacturers preformed end dams.

10.	Inside and outside corners:  Make in an industry-accepted manner using corner and splice material or purchase manufactured corners from the manufacturer.

12.    Use stainless steel or copper drip edge at any location where the underside of the flashing will be exposed and/or deemed necessary by the design professional or AHJ on the project.

11.    Cover flashing within a few days of installation to protect it from damage from the different trades, the environment, and falling debris. If the flashing is left unprotected and it is punctured, torn, or has loose poly, you should contact the manufacturer for repair instructions.

3.02	SCHEDULES

A.	Locations:

1.	Exterior door heads.

2.	Window heads and sills.

3.	Storefront heads.

4.	Horizontal control joints.

5.	Changes in veneer materials, vertically.

6.	Other wall openings.

7.	Other locations indicated.

END OF SECTION 04 22 00